**Digital Oscilloscope – User Manual**

## **Cover Page**

**Digital Oscilloscope**

User Manual

Version 1.0

© 2025

---

## **Table of Contents**

1. Introduction

2. Safety Instructions

3. Device Overview

4. Operating Instructions

5. Maintenance and Troubleshooting

6. Specifications

7. Warranty and Support

---

## **1. Introduction**

A digital oscilloscope is a device used to measure and visualize electrical signals in digital form. It allows precise measurement of voltage over time, waveform analysis, and advanced functions such as automatic measurements and storage of signals.

---

## **2. Safety Instructions**

* Always ensure the oscilloscope is properly grounded.

* Do not expose the device to water or high humidity.

* Avoid measuring voltages beyond the device’s rated input.

* Disconnect probes before servicing or cleaning.

* Handle probes and cables carefully to prevent damage.

---

## **3. Device Overview**

**Key Features:**

* Multi-channel input (typically 2–4 channels)

* High sampling rate (up to several GSa/s)

* Memory storage for waveforms

* Trigger and measurement functions

* USB or network connectivity for data export

**Front Panel Functions:**

* **Display Screen:** Shows waveform and measurements

* **Vertical Controls:** Adjust voltage scale per division

* **Horizontal Controls:** Adjust time base per division

* **Trigger Controls:** Stabilize waveform display

* **Measurement Buttons:** Auto-measure amplitude, frequency, rise time, etc.

* **Menu Buttons:** Access functions like save/load, math operations, or cursor measurements

---

## **4. Operating Instructions**

**Step 1: Connect Probe**

* Attach the probe to the desired channel input.

* Connect probe ground to the circuit ground.

**Step 2: Configure Display**

* Select the channel to display.

* Adjust vertical (volts/div) and horizontal (time/div) scales.

**Step 3: Trigger Setup**

* Choose trigger type (edge, pulse, or video).

* Adjust level for stable waveform display.

**Step 4: Measure Signals**

* Use automatic measurements or cursors to analyze amplitude, frequency, rise/fall time.

* Save waveforms using internal memory or USB export if required.

**Step 5: Shutdown**

* Turn off the device and disconnect probes.

* Store the oscilloscope in a clean, dry area.

---

## **5. Maintenance and Troubleshooting**

* Keep the screen and controls free from dust.

* Inspect cables and probes regularly. Replace damaged items.

* If the device fails to power on, check the power source and fuse.

* Periodically calibrate the oscilloscope according to the manufacturer’s instructions.

---

## **6. Specifications**

* Channels: 2–4

* Bandwidth: 100 MHz – 1 GHz

* Sample Rate: 1 GSa/s – 5 GSa/s

* Vertical Resolution: 8–12 bits

* Input Impedance: 1 MΩ // 20 pF

* Connectivity: USB, LAN (optional)

---

## **7. Warranty and Support**

* Warranty: 1 year from date of purchase

* Support: Contact manufacturer’s customer service for repair or technical questions

Keep purchase receipt and serial number for warranty claims